## Sheet1
Parameter
Qin | Light
CO2_r | CO2 concentration before chamber
RHcham | Relative humidity chamber
Flow | air flow licor chamber
Tair | Temperature chamber
SS_600-0-500_Cycle_30-70RH
parameter: | High RH oscillations | [13 empty] | Notes
Qin (μmol/m²/s) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Off
CO2_r [CO₂] (ppm) | 600 | 500 | 400 | 300 | 200 | 100 | 50 | 0 | 50 | 100 | 200 | 300 | 400 | 500 | Stepwise decrease
Rhcham (%) | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | Compared 70%-30%
Flow (mL/min) | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | Continious air flow in chamber
Tair (°C) | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | Constant
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Off
| 600 | 500 | 400 | 300 | 200 | 100 | 50 | 0 | 50 | 100 | 200 | 300 | 400 | 500 | Stepwise decrease
| 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | Compared 70%-30%
| 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | Continious air flow in chamber
| 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | Constant
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Off
| 600 | 500 | 400 | 300 | 200 | 100 | 50 | 0 | 50 | 100 | 200 | 300 | 400 | 500 | Stepwise decrease
| 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | Compared 70%-30%
| 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | Continious air flow in chamber
| 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | Constant
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Off
| 600 | 500 | 400 | 300 | 200 | 100 | 50 | 0 | 50 | 100 | 200 | 300 | 400 | 500 | Stepwise decrease
| 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | Compared 70%-30%
| 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | Continious air flow in chamber
| 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | Constant
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Off
| 600 | 500 | 400 | 300 | 200 | 100 | 50 | 0 | 50 | 100 | 200 | 300 | 400 |  | Stepwise decrease
| 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 |  | Compared 70%-30%
| 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 |  | Continious air flow in chamber
| 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 |  | Constant
Repeaded reponces | 1
Time between | 2 min
| RH switsh 70-30 | [13 empty] | Off
| 0 | 0 | [12 empty] | Stepwise decrease
| 400 | 400 | [12 empty] | Compared 70%-30%
| 70 | 30 | [12 empty] | Continious air flow in chamber
| 400 | 400 | [12 empty] | Constant
| 23 | 23
Repeaded reponces | 8 | 4
Time between | 2 min | 2 min
Low RH oscillations
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Off
| 400 | 500 | 600 | 500 | 400 | 300 | 200 | 100 | 50 | 0 | 50 | 100 | 200 | 300 | Stepwise decrease
| 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | Compared 70%-30%
| 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | Continious air flow in chamber
| 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | Constant
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Off
| 400 | 500 | 600 | 500 | 400 | 300 | 200 | 100 | 50 | 0 | 50 | 100 | 200 | 300 | Stepwise decrease
| 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | Compared 70%-30%
| 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | Continious air flow in chamber
| 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | Constant
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Off
| 400 | 500 | 600 | 500 | 400 | 300 | 200 | 100 | 50 | 0 | 50 | 100 | 200 | 300 | Stepwise decrease
| 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | Compared 70%-30%
| 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | Continious air flow in chamber
| 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | Constant
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Off
| 400 | 500 | 600 | 500 | 400 | 300 | 200 | 100 | 50 | 0 | 50 | 100 | 200 | 300 | Stepwise decrease
| 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | Compared 70%-30%
| 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | Continious air flow in chamber
| 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | Constant
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Off
| 400 | 500 | 600 | 500 | 400 | 300 | 200 | 100 | 50 | 0 | 50 | 100 | 200 | 300 | Stepwise decrease
| 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | Compared 70%-30%
| 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | Continious air flow in chamber
| 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | Constant
| 0 | 0 | 0 | 0 | 0 | [9 empty] | Off
| 400 | 500 | 600 | 500 | 400 | [9 empty] | Stepwise decrease
| 30 | 30 | 30 | 30 | 30 | [9 empty] | Compared 70%-30%
| 400 | 400 | 400 | 400 | 400 | [9 empty] | Continious air flow in chamber
| 23 | 23 | 23 | 23 | 23 | [9 empty] | Constant
Repeaded reponces | 1
Time between | 2 min
RH 30 tail
| 0 | [13 empty] | Off
| 400 | [13 empty] | Stepwise decrease
| 30 | [13 empty] | Compared 70%-30%
| 400 | [13 empty] | Continious air flow in chamber
| 23 | [13 empty] | Constant
Repeaded reponces | 9
Time between | 2 min
Tot 330 min